Attraction®

ATTRACTION® is a semi-flexible tile constructed by compacting at high temperature a 4mm recycled backing and a 1mm pure PVC coloured wearlayer.

The unique flecked design is produced through the high pressure introduction of coloured chips to the coloured wearlayer.

It has a unique dovetail joint which allows rapid loose lay installation and replacement. To improve maintenance a UV cured polyurethane (PUR) treatment is applied to the textured surface. This facilitates ease of maintenance and eliminates the use of acrylic emulsion (polish) for a period dependant on maintenance regime and traffic levels.

It is anti-static (< 2 kV) and meets the requirements for use in computer rooms.

It benefits from Sanosol® fungicidal and antibacterial treatment.

It has a Bfl-s1 fire classification in accordance with standard EN 13501-1.