PLAC’INOX

# PLAC’INOX

Brushed stainless steel plate door protection

Description: To supply and install a self-adhesive protective plate (such as Gerflor’s Plac’Inox) in pre-formed stainless steel with a thickness of 10/10th mm and provided with two double-sided adhesive strips.

Finish: Brushed metal

Installation method: glue as per manufacturer’s intructions.