Specification

# Decoprint

protection or decoration panel

with customized digital printing

- Description: protection (2 mm) or decoration (1 mm) panel with customized digital printing (Decoprint as manufactured by SPM) from translucent antibacterial PVC achieving Bs2d0 fire rating with images printed on the back. The surface is slightly textured (“Optimixt“ grain in 2 mm or “Velvet“ grain in 1 mm as manufactured by SPM). Its maximum height is 1.20 m and its maximum length is 2.90 m and 2 mm thick (protection) or 1 mm thick (decoration).

- Environment: no heavy metals and no substance potentially subjected to any REACH restriction are used in its manufacture, nor PBT/BPA. The calcium-zinc thermal stabilisation process is used. The emission level of volatile substance in inside air has been tested according to ISO 16000-6 and is very low (A+) according to the French regulation (23 March 2011 nr 2011-321 Decree and 19 April 2011 Order). 100% of the product are recyclable.

- Colours: customized and selected by architects*.

- Installation: glue as per manufacturer’s instructions.

*The reproduced images or photos, provided by the user in accordance with SPM requested specification, must be free of copyright – if they are not, the reproduction rights are payable by the user, who has full responsibility.